## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | Replacement_costs_during_project_lifetime | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion storage capacity | 11658107.9382 | 82743.2089 | 11575364.7294 | 9466983.4 | 2108381.3293 | 0 | 82743.2089 | 1000388.272 | 7100.2375 | 0.01068
0 | ESS Li-Ion input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (charge) | 644592.2941 | 0 | 644592.2941 | 369825.8828 | 274766.4113 | 0 | 0 | 55312.7982 | 0 | 0.00618
0 | Charge Contoller ESS Li-Ion (discharge) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Solar inverter | 3957907.9236 | 1021382.12 | 2936525.8035 | 2191133.2 | 745392.6035 | 0 | 1021382.12 | 339630.126 | 87645.328 | 0.00966
0 | Electricity grid_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV si | 50958912.1094 | 19564540.9457 | 31394371.1637 | 31394371.1637 | 0 | 0 | 19564540.9457 | 4372810.6051 | 1678843.3777 | 0.11743
0 | Electricity grid_consumption_source | 79072944.1396 | 79072944.1396 | 0 | 0 | 0 | 79072944.1396 | 0 | 6785290.2348 | 6785290.2348 | 0.3088
0 | Electricity demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity grid_feedin_sink_sink | -7415088.4942 | -7415088.4942 | 0 | 0 | 0 | -7415088.4942 | 0 | -636292.5789 | -636292.5789 | -0.1

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow | Total emissions
0 | ESS Li-Ion storage capacity | kWh | 0 | 47334.917 | 93667536.0153 | 93667536.0153 | 37867.934 | 10692.6411
0 | ESS Li-Ion input power | kW | 0 | 47334.917 | 8730736.2296 | 8730736.2296 | 8405.1337 | 996.6594
0 | ESS Li-Ion output power | kW | 0 | 47334.917 | 7071896.3448 | 7071896.3448 | 10329.856 | 807.2941
0 | Charge Contoller ESS Li-Ion (charge) | kW | 0 | 8405.1337 | 8953797.1915 | 8953797.1915 | 8405.1337 | 1022.123
0 | Charge Contoller ESS Li-Ion (discharge) | kW | 0 | 10329.856 | 7294957.3068 | 7294957.3068 | 10329.856 | 832.7577
0 | Solar inverter | kW | 0 | 21911.332 | 35159632.6432 | 35159632.6432 | 21911.332 | 4013.6567
0 | Electricity grid_consumption_period | ? | 0 | 10329.856 | 21973090.1385 | 21973090.1385 | 10329.856 | 2508.3436
0 | PV si | kWp | 0 | 33576.8676 | 37236592.6789 | 37236592.6789 | 27058.834 | 4250.7526 | 0
0 | Electricity grid_consumption_source | ? | 0 | 10329.856 | 21973090.1385 | 21973090.1385 | 10329.856 | 2508.3436 | 7426904.4668
0 | Electricity demand | kW | 0 | 0 | 49110957.1911 | 49110957.1911 | 10329.8559 | 5606.2737
0 | ESS Li-Ion bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | ? | 0 | 3994.2732 | 226452.9766 | 226452.9766 | 3994.2732 | 25.8508
0 | Electricity grid_feedin_sink_sink | ? | 0 | 16198.252 | 6362925.7893 | 6362925.7893 | 16198.252 | 726.3614

## scalars
| 0 | unit
Attributed costsElectricity | 138877375.9107 | EUR
Degree of autonomy | 0.75821 | EUR
Levelized costs of electricity equivalent | 0.24266 | EUR
Levelized costs of electricity equivalentElectricity | 0.24266 | EUR
Onsite energy fraction | 0.82912 | NA
Onsite energy matching | 0.62404 | EUR
Renewable factor | 0.666 | EUR
Renewable share of local generation | 1 | EUR/year
Replacement_costs_during_project_lifetime | 3128540.3442 | EUR/year
Specific emissions per electricity equivalent | 0.15123 | NA
Total emissions | 7426904.4668 | NA
Total internal generation | 37236592.6789 | NA
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 37236592.6789 | NA
Total non-renewable energy use | 19775781.1247 | NA
Total renewable energy use | 39433901.6927 | NA
Total_demandElectricity | 49110957.1911 | NA
Total_demandElectricity_electricity_equivalent | 49110957.1911 | NA
Total_demand_electricity_equivalent | 49110957.1911 | NA
Total_excessElectricity | 226452.9766 | NA
Total_excessElectricity_electricity_equivalent | 226452.9766 | NA
Total_excess_electricity_equivalent | 226452.9766 | NA
Total_feedinElectricity | 6362925.7892 | NA
Total_feedinElectricity_electricity_equivalent | 6362925.7892 | NA
Total_feedin_electricity_equivalent | 6362925.7892 | NA
annuity_om | 7922586.5991 | NA
annuity_total | 11917139.4571 | NA
costs_cost_om | 20668666.2746 | NA
costs_dispatch | 71657855.6454 | NA
costs_investment_over_lifetime | 46550853.9907 | NA
costs_om_total | 92326521.92 | NA
costs_total | 138877375.9107 | NA
costs_upfront_in_year_zero | 43422313.6465 | NA

## KPI individual sectors
| Renewable factor | Renewable share of local generation | Total internal non-renewable generation | Total internal non-renewable generation_electricity_equivalent | Total internal renewable generation | Total internal renewable generation_electricity_equivalent | Total non-renewable energy use | Total non-renewable energy use_electricity_equivalent | Total renewable energy use | Total renewable energy use_electricity_equivalent
0 | {'Electricity': 0.6660042718744106} | {'Electricity': 1.0} | {'Electricity': 0} | {'Electricity': 0} | {'Electricity': 37236592.67885471} | {'Electricity': 37236592.67885471} | {'Electricity': 19775781.124677975} | {'Electricity': 19775781.124677975} | {'Electricity': 39433901.69270782} | {'Electricity': 39433901.69270782}